## Rental Home Inspection
RENTAL HOME
INSPECTION CHECKLIST
Ensuring Safety, Functionality & Tenant Readiness
FROM HAVENRENT PROPERTY SERVICES
1 | EXTERIOR & ENTRY POINTS
• Inspect front and back doors for secure locks, weather stripping, and operation • Check exterior lighting fixtures for functionality and bulb condition • Examine porch, steps, and railings for structural integrity and safety compliance • Assess mailbox, house number visibility, and intercom system (if applicable) • Review condition of exterior walls, paint, and signs of water damage or cracks
✔
2 | INTERIOR SAFETY & COMPLIANCE
• Test smoke detectors, carbon monoxide alarms, and fire extinguishers • Verify window locks, emergency exits, and child safety latches where required • Inspect staircase railings, flooring transitions, and trip hazards through the home • Confirm presence and accessibility of circuit breaker panel with labeled switches • Check for mold indicators, ventilation adequacy, and compliance with local codes
✔
3 | ELECTRICAL & LIGHTING SYSTEMS
• Test all light switches and ceiling fixtures for proper function and bulb type • Inspect power outlets for grounding, damage, and GFCI protection in wet areas • Verify operation of major appliances (fridge, oven, washer) and their outlets • Check fuse box or breaker panel for amperage match, and signs of overheating • Review cable/internet ports and confirm tenant-ready connectivity option
✔
4 | PLUMBING & WATER SYSTEMS
• Run faucets in kitchen, bathroom(s), and laundry to check drainage, and leaks • Inspect toilets for flushing function, seal integrity, and signs of water damage • Check water heater for age, visible corrosion, and temperature settings • Examine under-sink plumbing for leaks, insulation, and shut-off valve access • Verify outdoor hose bibs and water meter accessibility (if applicable)
✔
5 | INTERIOR CONDITION & CLEANLINESS
• Assess wall surfaces, paint condition, and signs of prior damage or patchwork • Inspect flooring (carpet, tile, wood) for cleanliness, wear, and secure installation • Check windows and blinds for smooth operation, cleanliness, and damage • Review closet interiors, shelving stability, and door alignment • Confirm overall cleanliness, odor presence, and readiness for tenant move-in
✔
HAVENRENTPROPERTYSERVICES.COM
(555) 123 456 7890