## New Construction Home Inspect.
APARTMENT HOME INSPECTION CHECKLIST
This comprehensive checklist supports inspectors in systematically verifying the quality, safety, and regulatory compliance of a newly constructed home. It provides clear, itemized guidance across key structural, mechanical, and aesthetic components, ensuring all elements meet construction standards before final walkthrough.
SECTION 1: EXTERIOR INSPECTION
| Verify foundation is level and crack-free | Inspect roofing materials and flashing
| Check grading slope away from house | Ensure siding is properly installed
| Inspect concrete surfaces (driveways, walkways) | Check for exterior caulking and sealants
| Verify correct installation of windows | Inspect porch and deck railings
| Check exterior doors for weatherstripping | Assess paint or finish quality
SECTION 2: INTERIOR FINISH & STRUCTURAL
| Check drywall for blemishes or cracks | Verify ceiling finish consistency
| Inspect window and door trims | Check floor flatness and transitions
| Inspect stair installation and safety | Check alignment of interior doors
SECTION 3: PLUMBING SYSTEM
| Inspect water heater installation | Check pipe insulation in cold zones
| Verify toilet mounting and flush function | Run faucets to check water pressure
| Test drains for clogs or slow flow | Inspect laundry connections
| Check showerhead and tub plumbing integrity | Verify supply shut-off valves are accessible
SECTION 4: ELECTRICAL SYSTEM
| Verify main panel labeling and breakers | Test outlet polarity and GFCI protection
| Check lighting fixture installation | Confirm smoke and CO detector placement
| Inspect wiring neatness at exposed points | Test doorbell and security system wiring
SECTION 5: HVAC SYSTEM
| Test heating system function | Test cooling system function
| Inspect vent register installation | Check thermostat control and placement
| Confirm ductwork seal and layout | Inspect condensate drain and pan
| Check air filter accessibility | Verify attic ventilation installation
| Test exhaust fans (bath/kitchen) | Assess return air intake performance
SECTION 6: SAFETY & COMPLIANCE
| Verify egress windows in bedrooms | Confirm fire-rated door installation (garage)
| Inspect stair guardrails and handrails | Test smoke and CO detectors
| Check exterior lighting at entryways | Confirm lockable windows and doors
SECTION 7: MISCELLANEOUS
| Check attic hatch access and insulation | Inspect crawl space or basement moisture
| Test garage door auto-reverse feature | Assess mailbox and address visibility
| Confirm appliance installation | Verify presence of builder warranty packet